SECTION 11 66 43
DAKTRONICS TN-2562 TENNIS SCOREBOARD


Part 1 GENERAL
1.01 SECTION INCLUDES
A. Multi-court LED tennis scoreboard
1.02 references

A. Standard for Electric Signs, UL 48

B. Standard for CSA C22.2 #207 
C. Federal Communications Commission Regulation Part 15

D. National Electric Code

1.03 SUBMITTALS

A. Product data: Submit manufacturer’s product illustrations, data and literature that fully describe the scoreboards and accessories proposed for installation.
B. Shop drawings: Submit mechanical and electrical drawings.

C. Maintenance data: Submit manufacturer’s installation, operation, and maintenance manuals.

1.04 DELIVERY, STORAGE, AND HANDLING

A. Product delivered on site
B. Scoreboard and equipment to be housed in a clean, dry environment
1.05 Project CONDITIONS

A. Environmental Limitations: Do not install scoring equipment until spaces are enclosed and weatherproof, wet work in spaces is complete and dry, and ambient temperature and humidity conditions are maintained at the levels indicated for project when occupied for its intended use.

B. Field Measurements: Coordinate scoreboard location and height with the customer. Verify dimensions by field measurements.

C. Supply weight and mounting method for owner to verify that building structure is capable of supporting the scoreboard’s weight in addition to the auxiliary equipment.

1.06 quality assurance
A. For indoor use only
B. Source Limitations: Obtain each type of scoring equipment and electronic displays through one source from a single manufacturer.

C. ETL listed to UL 48 

D. NEC compliant

E. FCC compliant

F. ETLC listed to CSA 22.2 #207

1.07 WARRANTY
A. Provide 5 years of no cost parts exchange including standard shipping on electronics parts and radios due to manufacturing defects
B. Provide toll-free service coordination

C. Provide technical online and phone support during Daktronics business hours
Part 2 PRODUCTS

2.01 manufacturer

A. Daktronics, Inc., 201 Daktronics Drive, P.O. Box 5128, Brookings, SD 57006-5128

B. ________________________________________________________________________

C. ________________________________________________________________________

2.02 Product

A. Daktronics TN-2562 indoor tennis scoreboard displays total HOME and GUEST team score to nine as well as HOME and GUEST serve indicators and set scores to nine for up to three sets on six courts (three rows of two courts). 
2.03 scoreboard

A. General information

1. Dimensions: 12'-6" (3.81 m) high, 16'-0" (4.88 m) wide, 0'-6" (152 mm) deep

2. Base weight: 672 lb (305 kg) – options may increase weight
3. Base power requirement: 320 W – options may increase wattage
4. Color: provide over 150 colors to choose from
B. Construction 

1. All-aluminum construction

2. Scoreboard back, face, and perimeter: 0.063" (1.60 mm) thick

3. Cabinet withstands high-velocity impact from air-filled sports balls without the need for protective screens

C. Digits & Indicators
1. LED color (SELECT ONE DIGIT COLOR IN BRACKETS ONLY): 
[Red] [Amber] [White]
2. Team score digits: 13" (330 mm) high

3. Set score digits: 10" (254 mm) high

4. Serve indicators: 2" (51 mm) diameter
5. Seven bar segments per digit

6. PanaView® LED digit technology

D. Captions

1. Vinyl applied directly to scoreboard face

2. HOME and GUEST captions: 8" (203 mm) high

3. COURT # captions: 6" (152 mm) high

4. Color: standard white or others available upon request
E. Power Cords
1. Cords are 11' (3.35 m) long

2. Cords plug into a standard grounded outlet

F. Accessory Equipment 
(SELECT ONE ACCESSORY IN BRACKETS PER NUMBER OR DELETE ENTIRE NUMBER)

1. [Vinyl striping applied around the scoreboard face]

2. [Custom team name captions in place of HOME] [6" (152 mm) high 8x48 Programmable Team Name Message Centers (TNMCs) – add 105 lb (48 kg) and 420 W; requires DakTennis™ control system] [8" (203 mm) high 8x32 Programmable Team Name Message Centers (TNMCs) – add 105 lb (48 kg) and 980 W; requires DakTennis™ control system]
3. [13" (330 mm) Time of Day (TOD) clock with standalone Time of Day option (scoreboard acts as a clock when control console is unplugged/off)] [One 18" (457 mm) high, 54" (1.37 m) wide logo/sponsor area on the face of the display]

2.04 SCORING CONSOLE

A. Console is an RC-200 wireless handheld controller (@ 6)
B. Scores multiple sports using changeable keyboard inserts 

C. Operating range of 10-500' (3-52 m) 

D. Console includes:

1. 2.4 GHz radio with 64 selectable channels 

2. Rechargeable Ni-MH (Nickel Metal Hydride) battery provides 8-10 hours of operation 

3. Durable ABS plastic enclosure to house electronics   

4. Sealed membrane water-resistant keyboard   

5. 128x64 LCD to verify entries and recall information currently displayed 

E. Accessory Equipment 
(SELECT ONE ACCESSORY IN BRACKETS PER NUMBER OR DELETE ENTIRE NUMBER)

1. [Multi-charging unit (charges up to six handheld controllers)]
2. [Carrying/operation case (includes belt clip, wrist and neck strap)]

Part 3 EXECUTION

3.01 EXAMINATION

A. Verify that mounting surface is ready to receive scoreboard. Verify that placement of conduit and junction boxes are as specified and indicated in plans and shop drawings.
3.02 INSTALLATION

A. Power conduit, cables and outlet boxes to be provided and installed by the electrical contractor. Signal raceways, conduit and boxes to be provided by the electrical contractor. Electrical contractor is also responsible for any required wire and terminators between each scoreboard and control location. 

B. Mount scoreboards and interior displays to wall in location detailed and in accordance with manufacturer's instructions. Unit to be plumb and level.
3.03 installation—control center

A. Provide boxes, cover plates and jacks as required to meet control specification requirements. Control cables to control panels shall be concealed.

B. Test the operation of the scoreboard, controller and all control jacks; leave control unit in carrying case and other loose items with owner's designated representative. 

C. Conduct operator training on the scoreboard/controller operation.
END OF SECTION

PAGE  
SL-08608  021618
TN-2562
11 66 43-3

